## Sheet1
NHS Trust name | Hospital Name | EquipmentDescription (If no description use the category) | Modality |  | OEM | InstallationDate | Device Age | Service Contract? (Y/N) True = Yes | Service Contract Provider
Provider | Site | Description | Category | Model | Brand | Installation Date | A AG INS | IsOnContract | Contract Supplier
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Intraoral X-Ray | INTRAORAL X-RAY | INTRAORAL X-RAY | PLANMECA | 2002-07-12 | 21 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Portable X-Ray Machine | MOBILE X-RAY MACHINE | AMX4 MOBILE X-RAY | GE HEALTHCARE | 2005-03-31 | 18 | TRUE | GE HEALTHCARE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | . | FLOROSCOPY | MD ELEVA FD | PHILIPS MEDICAL SYSTEMS | 2006-10-17 | 17 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | . | FLOROSCOPY | MD ELEVA FD | PHILIPS MEDICAL SYSTEMS | 2006-12-12 | 17 | TRUE | MEDECON HEALTHCARE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | . | X-RAY ROOM | KODAK DIRECT VIEW X-RAY UNIT DR7500 | CARESTREAM HEALTH UK | 2007-03-22 | 16 | TRUE | MEDRAY
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | INTRAORAL X-RAY | INTRAORAL X-RAY | INTRAORAL X-RAY | PLANMECA | 2007-03-26 | 16 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND MICROMAXX | SONOSITE LTD | 2007-09-06 | 16 | FALSE
EKHUFT - MEDICAL DEVICE | BHD - DOVER (Inc ICS) | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND MICROMAXX | SONOSITE LTD | 2007-12-28 | 16 | FALSE
EKHUFT - MEDICAL DEVICE | MEDWAY HOSPITAL | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND MICROMAXX | SONOSITE LTD | 2007-12-28 | 16 | FALSE
EKHUFT - MEDICAL DEVICE | MAIDSTONE HOSPITAL | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND MICROMAXX | SONOSITE LTD | 2007-12-28 | 16 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | . | POINT OF CARE DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND M-TURBO | SONOSITE LTD | 2008-03-28 | 15 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | PORTABLE X-RAY MACHINE | MOBILE X-RAY MACHINE | AMX4 MOBILE X-RAY | GE HEALTHCARE | 2008-03-30 | 15 | TRUE | GE HEALTHCARE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | NEMIO XG MK2 ULTRASOUND | CANON | 2008-04-09 | 15 | TRUE | PROBO MEDICAL LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | INTRAORAL X-RAY | INTRAORAL X-RAY | INTRAORAL X-RAY UNIT XGENUS DC | ACTEON | 2009-05-13 | 14 | TRUE | KENT COMMUNITY HEALTH NHS
EKHUFT - MEDICAL DEVICE | RVH - FOLKESTONE | Fixed X-Ray Room | X-RAY ROOM | DIGITAL DIAGNOST 2 | PHILIPS MEDICAL SYSTEMS | 2009-06-24 | 14 | TRUE | PHILIPS HEALTHCARE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | POINT OF CARE DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND M-TURBO | SONOSITE LTD | 2009-08-21 | 14 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | . | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND APLIO XG | CANON | 2009-10-13 | 14 | TRUE | PROBO MEDICAL LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | . | POINT OF CARE DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND M-TURBO | SONOSITE LTD | 2010-01-29 | 13 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Intraoral X-Ray | INTRAORAL X-RAY | 2200 INTRAORAL X-RAY | CARESTREAM HEALTH UK | 2011-03-10 | 12 | TRUE | THE DENTAL IMAGING COMPANY
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | FLUOROSCOPY ROOM | FLOROSCOPY | MD ELEVA FD | PHILIPS MEDICAL SYSTEMS | 2011-05-04 | 12 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | . | INTRAORAL X-RAY | 2200 INTRAORAL X-RAY | CARESTREAM HEALTH UK | 2011-05-20 | 12 | TRUE | THE DENTAL IMAGING COMPANY
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | ULTRASOUND IMAGING iE33 | PHILIPS MEDICAL SYSTEMS | 2011-09-28 | 12 | TRUE | PROBO MEDICAL LTD
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND S-ICU | SONOSITE LTD | 2011-11-02 | 12 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | PORTASCAN+ | MEDIWATCH UK LTD | 2011-11-16 | 12 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | NANOMAXX | SONOSITE LTD | 2011-12-30 | 12 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | ULTRASOUND HV AVIUS | HITACHI DENSHI LTD | 2012-03-09 | 11 | TRUE | PROBO MEDICAL LTD
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND S-NERVE | SONOSITE LTD | 2012-03-27 | 11 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | VOLUSON i | GE HEALTHCARE | 2012-03-28 | 11 | TRUE | GE HEALTHCARE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | ULTRASOUND VSCAN | GE HEALTHCARE | 2012-04-16 | 11 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Fluoroscopy unit | FLOROSCOPY | FLUOROSCAN INSIGHT 2 | VERTEC SCIENTIFIC LTD | 2012-05-01 | 11 | TRUE | VERTEC SCIENTIFIC LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | MOBILE C ARM | FLOROSCOPY | OEC 9900 ELITE MOBILE II | GE HEALTHCARE | 2012-05-10 | 11 | TRUE | PROBO MEDICAL LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Pathology Sample x-Ray | TISSUE SAMPLE X-RAY CABINET | FAXITRON | HOLOGIC LTD | 2012-05-23 | 11 | TRUE | HOLOGIC LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | PATHOLOGY SAMPLE X-RAY | TISSUE SAMPLE X-RAY CABINET | FAXITRON | HOLOGIC LTD | 2012-05-25 | 11 | TRUE | HOLOGIC LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD |  | FLOROSCOPY | OEC 9900 ELITE MOBILE II | GE HEALTHCARE | 2012-06-13 | 11 | TRUE | PROBO MEDICAL LTD (FORMALLY MIUS)
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | APLIO 300 | CANON | 2013-05-14 | 10 | TRUE | PROBO MEDICAL LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | . | FLOROSCOPY | FLUOROSCAN INSIGHT 2 | VERTEC SCIENTIFIC LTD | 2013-07-01 | 10 | TRUE | VERTEC SCIENTIFIC LTD
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | PATHOLOGY SAMPLE X-RAY | TISSUE SAMPLE X-RAY CABINET | FAXITRON | HOLOGIC LTD | 2013-07-02 | 10 | TRUE | HOLOGIC LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND S-NERVE | SONOSITE LTD | 2013-08-05 | 10 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | PORTABLE ULTRASOUND X-PORTE | SONOSITE LTD | 2014-08-28 | 9 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | EPIQ 5C | PHILIPS HEALTHCARE | 2014-11-24 | 9 | TRUE | NHS SUPPLY CHAIN
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | EPIQ 5 | PHILIPS HEALTHCARE | 2014-11-24 | 9 | TRUE | NHS SUPPLY CHAIN
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND S-NERVE | SONOSITE LTD | 2014-12-02 | 9 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | CX50 POC ULTRASOUND | PHILIPS HEALTHCARE | 2014-12-23 | 9 | TRUE | PHILIPS HEALTHCARE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | . | DIAGNOSTIC ULTRASOUND | MYLAB TWICE | ESAOTE | 2015-01-05 | 8 | TRUE | PROBO MEDICAL LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | CX50 POC ULTRASOUND | PHILIPS HEALTHCARE | 2015-01-07 | 8 | TRUE | NHS SUPPLY CHAIN
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | PORTABLE ULTRASOUND X-PORTE | SONOSITE LTD | 2015-02-20 | 8 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | FIBROSCAN TOUCH 502 | ECHOSENS | 2015-03-06 | 8 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | LOGIQ E - ULTRASOUND IMAGING | GE HEALTHCARE | 2015-03-19 | 8 | FALSE
EKHUFT - MEDICAL DEVICE | BHD - DOVER (Inc ICS) | X-Ray Room | X-RAY ROOM | DIGITAL DIAGNOST 4 | PHILIPS MEDICAL SYSTEMS | 2015-03-31 | 8 | TRUE | PHILIPS HEALTHCARE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND S-NERVE | SONOSITE LTD | 2015-06-30 | 8 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | CX50 POC ULTRASOUND | PHILIPS HEALTHCARE | 2015-07-22 | 8 | TRUE | NHS SUPPLY CHAIN
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | CX50 POC ULTRASOUND | PHILIPS HEALTHCARE | 2015-07-23 | 8 | TRUE | NHS SUPPLY CHAIN
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | CX50 POC ULTRASOUND | PHILIPS HEALTHCARE | 2015-11-18 | 8 | TRUE | NHS SUPPLY CHAIN
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | iLAB™ featuring ULTRA ICE™ PLUS Ultrasound Imaging System and Ultrasound Imaging Catheter | DIAGNOSTIC ULTRASOUND | ULTRASOUND ILAB | BOSTON SCIENTIFIC LTD | 2015-12-04 | 8 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | APLIO 500 | TOSHIBA | 2015-12-17 | 8 | TRUE | PROBO MEDICAL LTD
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | APLIO 500 | TOSHIBA | 2015-12-18 | 8 | TRUE | PROBO MEDICAL LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | EPIQ 7 | PHILIPS HEALTHCARE | 2016-01-20 | 7 | TRUE | NHS SUPPLY CHAIN
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND SONOSITE EDGE | SONOSITE LTD | 2016-03-16 | 7 | FALSE
EKHUFT - MEDICAL DEVICE | FAVERSHAM HEALTH CENTRE | . | X-RAY ROOM | DIGITAL DIAGNOST 4 | PHILIPS MEDICAL SYSTEMS | 2016-04-14 | 7 | TRUE | MEDECON HEALTHCARE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | VITACON | DANTEC DYNAMICS LTD | 2016-09-24 | 7 | TRUE | DANTEC DYNAMICS LTD
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND SONOSITE EDGE | SONOSITE LTD | 2016-10-04 | 7 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | EDGE 2 - DIAGNOSTIC ULTRASOUND SONOSITE | SONOSITE LTD | 2017-01-24 | 6 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | EDGE 2 - DIAGNOSTIC ULTRASOUND SONOSITE | SONOSITE LTD | 2017-01-27 | 6 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2017-02-17 | 6 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | LOGIQ E - ULTRASOUND IMAGING | GE HEALTHCARE | 2017-03-01 | 6 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | LOGIQ S8 R3 | GE HEALTHCARE | 2017-03-20 | 6 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | OPTHALMIC ULTRASOUND | POINT OF CARE DIAGNOSTIC ULTRASOUND | B SCAN EYECUBED V4 | ELLEX MEDICAL PTY LTD | 2017-04-21 | 6 | TRUE | DAYBREAK MEDICAL LTD
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Mobile X-Ray Machine | MOBILE X-RAY MACHINE | FDR GO - MOBILE X-RAY | FUJIFILM UK | 2017-06-22 | 6 | TRUE | FUJIFILM UK LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Mobile X-Ray Machine | MOBILE X-RAY MACHINE | FDR GO - MOBILE X-RAY | FUJIFILM UK | 2017-06-29 | 6 | TRUE | FUJIFILM UK LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Mobile X-Ray Machine | MOBILE X-RAY MACHINE | FDR GO - MOBILE X-RAY | FUJIFILM UK | 2017-07-03 | 6 | TRUE | FUJIFILM UK LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | EDGE 2 - DIAGNOSTIC ULTRASOUND SONOSITE | SONOSITE LTD | 2017-07-04 | 6 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | EPIQ 5 | PHILIPS HEALTHCARE | 2017-09-12 | 6 | TRUE | NHS SUPPLY CHAIN
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | EPIQ 7 | PHILIPS HEALTHCARE | 2017-09-12 | 6 | TRUE | NHS SUPPLY CHAIN
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | EPIQ 7 | PHILIPS HEALTHCARE | 2017-09-15 | 6 | TRUE | NHS SUPPLY CHAIN
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2017-12-28 | 6 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | HS60 CW | SAMSUNG | 2018-01-10 | 5 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | EDGE 2 - DIAGNOSTIC ULTRASOUND SONOSITE | SONOSITE LTD | 2018-02-06 | 5 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | PORTABLE ULTRASOUND X-PORTE | SONOSITE LTD | 2018-02-20 | 5 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2018-03-25 | 5 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2018-03-25 | 5 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | ULTRASOUND IMAGING FOR STEINTS ILUMIEN OPTIS | ST JUDE MEDICAL | 2018-07-12 | 5 | TRUE | ABBOTT LABORATORIES
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2018-10-17 | 5 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2018-10-28 | 5 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2018-11-14 | 5 | FALSE
EKHUFT - MEDICAL DEVICE | VICTORIA HOSPITAL, DEAL | . | X-RAY ROOM | DIGITAL DIAGNOST 4 | PHILIPS MEDICAL SYSTEMS | 2018-11-15 | 5 | TRUE | PHILIPS HEALTHCARE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | . | TISSUE SAMPLE X-RAY CABINET | DENTAL ORAL X-RAY PHOT-XIIS | BELMONT INSTRUMENT CORPORATION | 2018-11-26 | 5 | FALSE
EKHUFT - MEDICAL DEVICE | QVMH - HERNE BAY | . | X-RAY ROOM | DIGITAL DIAGNOST 4 | PHILIPS MEDICAL SYSTEMS | 2018-12-07 | 5 | TRUE | PHILIPS HEALTHCARE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | EU-ME3 is built to support more accurate diagnosis & treatment of hepatobiliary-pancreatic. EU-ME3 ultrasound processor delivers higher resolution images for endoscopic ultrasound. Power Flow. Improved elastography. Color Flow. H-Flow. B-mode. Excellent operability. | POINT OF CARE DIAGNOSTIC ULTRASOUND | UNIVERSAL ULTRASOUND PROCESSOR FOR EBUS EU-ME2 PREMIER PLUS | OLYMPUS KEYMED | 2018-12-11 | 5 | TRUE | OLYMPUS KEYMED
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2018-12-21 | 5 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | ULTRASOUND LOGIQ E10 | GE HEALTHCARE | 2019-01-18 | 4 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Mobile X-Ray Machine | MOBILE X-RAY MACHINE | FDR GO PLUS - MOBILE X-RAY | FUJIFILM UK | 2019-02-19 | 4 | TRUE | FUJIFILM UK LTD
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Mobile X-Ray Machine | MOBILE X-RAY MACHINE | FDR GO PLUS - MOBILE X-RAY | FUJIFILM UK | 2019-02-25 | 4 | TRUE | FUJIFILM UK LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Mobile X-Ray Machine | MOBILE X-RAY MACHINE | FDR GO PLUS - MOBILE X-RAY | FUJIFILM UK | 2019-02-25 | 4 | TRUE | FUJIFILM UK LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2019-03-14 | 4 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2019-03-14 | 4 | TRUE | MEDICAL IMAGING SYSTEMS LTD
2GETHER SUPPORT SOLUTIONS | KCH - CANTERBURY | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2019-03-17 | 4 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | EDGE 2 - DIAGNOSTIC ULTRASOUND SONOSITE | SONOSITE LTD | 2019-03-18 | 4 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | EDGE 2 - DIAGNOSTIC ULTRASOUND SONOSITE | SONOSITE LTD | 2019-03-18 | 4 | FALSE
2GETHER SUPPORT SOLUTIONS | KCH - CANTERBURY | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2019-03-18 | 4 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2019-03-18 | 4 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | ULTRASOUND BK5000 | BK ULTRASOUND | 2019-06-05 | 4 | TRUE | BK MEDICAL
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2019-06-12 | 4 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2019-12-04 | 4 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | ULTRASOUND HS40 | SAMSUNG | 2020-02-14 | 3 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Pathology Sample x-Ray | TISSUE SAMPLE X-RAY CABINET | FAXITRON | HOLOGIC LTD | 2020-03-03 | 3 | TRUE | HOLOGIC LTD
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2020-03-18 | 3 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2020-03-18 | 3 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2020-03-18 | 3 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2020-03-18 | 3 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | POINT OF CARE DIAGNOSTIC ULTRASOUND | PORTABLE ULTRASOUND X-PORTE | SONOSITE LTD | 2020-03-26 | 3 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2020-03-27 | 3 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | EDGE 2 - DIAGNOSTIC ULTRASOUND SONOSITE | SONOSITE LTD | 2020-04-03 | 3 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | EDGE 2 - DIAGNOSTIC ULTRASOUND SONOSITE | SONOSITE LTD | 2020-04-03 | 3 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | ULTRASOUND SCANNER XARIO 100G | CANON | 2020-04-24 | 3 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | ULTRASOUND HS40 | SAMSUNG | 2020-05-04 | 3 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | ULTRASOUND HS40 | SAMSUNG | 2020-05-05 | 3 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | ULTRASOUND HS40 | SAMSUNG | 2020-05-07 | 3 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | . | POINT OF CARE DIAGNOSTIC ULTRASOUND | EDGE 2 - DIAGNOSTIC ULTRASOUND SONOSITE | SONOSITE LTD | 2020-05-12 | 3 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | . | POINT OF CARE DIAGNOSTIC ULTRASOUND | EDGE 2 - DIAGNOSTIC ULTRASOUND SONOSITE | SONOSITE LTD | 2020-05-12 | 3 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | EDGE 2 - DIAGNOSTIC ULTRASOUND SONOSITE | SONOSITE LTD | 2020-05-12 | 3 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2020-05-19 | 3 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Mobile X-Ray Machine | MOBILE X-RAY MACHINE | FDR NANO - MOBILE X-RAY | FUJIFILM UK | 2020-06-30 | 3 | TRUE | FUJIFILM UK LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | . | POINT OF CARE DIAGNOSTIC ULTRASOUND | EDGE 2 - DIAGNOSTIC ULTRASOUND SONOSITE | SONOSITE LTD | 2020-07-14 | 3 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2020-08-28 | 3 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2020-10-05 | 3 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2020-10-13 | 3 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | DIAGNOSTIC ULTRASOUND | VOLCANO CORE M2 | PHILIPS HEALTHCARE | 2020-11-03 | 3 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | HERA W10 V1.0 | SAMSUNG | 2020-12-03 | 3 | TRUE | MIS HEALTHCARE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2020-12-17 | 3 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | EPIQ 5C | PHILIPS HEALTHCARE | 2020-12-17 | 3 | TRUE | PHILIPS HEALTHCARE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | HERA W10 V1.0 | SAMSUNG | 2021-01-14 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | CVx 3D | PHILIPS HEALTHCARE | 2021-01-14 | 2 | TRUE | PHILIPS HEALTHCARE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Mobile X-Ray Machine | MOBILE X-RAY MACHINE | FDR NANO - MOBILE X-RAY | FUJIFILM UK | 2021-02-04 | 2 | TRUE | FUJIFILM UK LTD
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Mobile X-Ray Machine | MOBILE X-RAY MACHINE | FDR NANO - MOBILE X-RAY | FUJIFILM UK | 2021-02-04 | 2 | TRUE | FUJIFILM UK LTD
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | SONOSITE PX ULTRASOUND SYSTEM | FUJIFILM UK | 2021-02-04 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | SONOSITE PX ULTRASOUND SYSTEM | FUJIFILM UK | 2021-02-15 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Mobile X-Ray Machine | MOBILE X-RAY MACHINE | FDR NANO - MOBILE X-RAY | FUJIFILM UK | 2021-02-16 | 2 | TRUE | FUJIFILM UK LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Mobile X-Ray Machine | MOBILE X-RAY MACHINE | FDR NANO - MOBILE X-RAY | FUJIFILM UK | 2021-02-16 | 2 | TRUE | FUJIFILM UK LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2021-02-23 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | PORTABLE ULTRASOUND X-PORTE | SONOSITE LTD | 2021-02-24 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SAMSUNG GALAXY TAB S4 | SAMSUNG | 2021-02-25 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SAMSUNG GALAXY TAB S4 | SAMSUNG | 2021-02-25 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SAMSUNG GALAXY TAB S4 | SAMSUNG | 2021-02-25 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SAMSUNG GALAXY TAB S4 | SAMSUNG | 2021-02-25 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SAMSUNG GALAXY TAB S4 | SAMSUNG | 2021-02-25 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2021-02-25 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | PORTABLE ULTRASOUND X-PORTE | SONOSITE LTD | 2021-02-26 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | PORTABLE ULTRASOUND X-PORTE | SONOSITE LTD | 2021-02-26 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2021-03-02 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2021-03-02 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2021-03-05 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | ULTRASOUND HS40 | SAMSUNG | 2021-03-22 | 2 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | ULTRASOUND HS40 | SAMSUNG | 2021-03-22 | 2 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | ULTRASOUND HS40 | SAMSUNG | 2021-03-22 | 2 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | CVx 3D | PHILIPS HEALTHCARE | 2021-03-29 | 2 | TRUE | PHILIPS HEALTHCARE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | CVx 3D | PHILIPS HEALTHCARE | 2021-04-01 | 2 | TRUE | PHILIPS
EKHUFT - MEDICAL DEVICE | BHD - DOVER (Inc ICS) | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | FIBROSCAN MINI 430+ | ECHOSENS | 2021-04-01 | 2 | TRUE | ECHOSENS
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Fixed X-Ray Room | X-RAY ROOM | DIGITAL DIAGNOST C90 | PHILIPS MEDICAL SYSTEMS | 2021-04-16 | 2 | TRUE | PHILIPS
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | FIXED X-RAY ROOM | X-RAY ROOM | DIGITAL DIAGNOST C90 | PHILIPS MEDICAL SYSTEMS | 2021-04-20 | 2 | TRUE | PHILIPS
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Fixed X-Ray Room | X-RAY ROOM | DIGITAL DIAGNOST C90 | PHILIPS MEDICAL SYSTEMS | 2021-04-29 | 2 | TRUE | PHILIPS
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Fixed X-Ray Room | X-RAY ROOM | DIGITAL DIAGNOST C90 | PHILIPS MEDICAL SYSTEMS | 2021-05-27 | 2 | TRUE | PHILIPS
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | FIXED X-RAY ROOM | X-RAY ROOM | DIGITAL DIAGNOST C90 | PHILIPS MEDICAL SYSTEMS | 2021-06-01 | 2 | TRUE | PHILIPS
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Fixed X-Ray Room | X-RAY ROOM | DIGITAL DIAGNOST C90 | PHILIPS MEDICAL SYSTEMS | 2021-06-16 | 2 | TRUE | PHILIPS
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2021-07-02 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Fixed X-Ray Room | X-RAY ROOM | DIGITAL DIAGNOST C90 | PHILIPS MEDICAL SYSTEMS | 2021-07-26 | 2 | TRUE | PHILIPS
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2021-08-09 | 2 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2021-08-09 | 2 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | RVH - FOLKESTONE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2021-08-09 | 2 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | BHD - DOVER (Inc ICS) | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2021-08-09 | 2 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Fixed X-Ray Room | X-RAY ROOM | DIGITAL DIAGNOST C90 | PHILIPS MEDICAL SYSTEMS | 2021-08-10 | 2 | TRUE | PHILIPS
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2021-08-17 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | HM70 EVO ULTRASOUND | SAMSUNG | 2021-09-09 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | HM70 EVO ULTRASOUND | SAMSUNG | 2021-09-09 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | HM70 EVO ULTRASOUND | SAMSUNG | 2021-09-09 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | HM70 EVO ULTRASOUND | SAMSUNG | 2021-09-09 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | ULTRASOUND LOGIQ P9 | GE HEALTHCARE | 2021-09-22 | 2 | TRUE | GE HEALTHCARE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Fixed X-Ray Room | X-RAY ROOM | DIGITAL DIAGNOST C90 | PHILIPS MEDICAL SYSTEMS | 2021-09-28 | 2 | TRUE | PHILIPS
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | EPIQ CVX 2D ULTRASOUND | PHILIPS HEALTHCARE | 2021-09-30 | 2 | TRUE | PHILIPS
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | EPIQ CVX 2D ULTRASOUND | PHILIPS HEALTHCARE | 2021-10-01 | 2 | TRUE | PHILIPS
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2021-12-22 | 2 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE |  | DIAGNOSTIC ULTRASOUND | SONOSITE PX ULTRASOUND SYSTEM | FUJIFILM UK | 2022-02-24 | 1 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | SONOSITE PX ULTRASOUND SYSTEM | FUJIFILM UK | 2022-03-03 | 1 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | SONOSITE PX ULTRASOUND SYSTEM | FUJIFILM UK | 2022-03-08 | 1 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | DIAGNOSTIC ULTRASOUND | SONOSITE PX ULTRASOUND SYSTEM | FUJIFILM UK | 2022-03-14 | 1 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | DIAGNOSTIC ULTRASOUND | ULTRASOUND HM70A | SAMSUNG | 2022-03-22 | 1 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2022-03-24 | 1 | FALSE
EKHUFT - MEDICAL DEVICE | CHARING SURGERY |  | DIAGNOSTIC ULTRASOUND | EPIQ CVX 2D ULTRASOUND | PHILIPS HEALTHCARE | 2022-03-28 | 1 | TRUE | PHILIPS HEALTHCARE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE |  | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2022-04-07 | 1 | TRUE | MIS HEALTHCARE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD |  | DIAGNOSTIC ULTRASOUND | SONOSITE PX ULTRASOUND SYSTEM | FUJIFILM UK | 2022-04-08 | 1 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD |  | DIAGNOSTIC ULTRASOUND | SONOSITE PX ULTRASOUND SYSTEM | FUJIFILM UK | 2022-04-08 | 1 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD |  | DIAGNOSTIC ULTRASOUND | SONOSITE PX ULTRASOUND SYSTEM | FUJIFILM UK | 2022-04-08 | 1 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | DIAGNOSTIC ULTRASOUND | HM70 EVO ULTRASOUND | SAMSUNG | 2022-04-13 | 1 | TRUE | MIS HEALTHCARE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | DIAGNOSTIC ULTRASOUND | HM70 EVO ULTRASOUND | SAMSUNG | 2022-04-13 | 1 | TRUE | MIS HEALTHCARE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | DIAGNOSTIC ULTRASOUND | SONOSITE PX ULTRASOUND SYSTEM | FUJIFILM UK | 2022-04-14 | 1 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2022-04-25 | 1 | TRUE | MIS HEALTHCARE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | DIAGNOSTIC ULTRASOUND | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2022-04-25 | 1 | TRUE | MIS HEALTHCARE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | DIAGNOSTIC ULTRASOUND | ULTRASOUND HM70A | SAMSUNG | 2022-04-25 | 1 | TRUE | MEDICAL IMAGING SYSTEMS LTD
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE |  | DIAGNOSTIC ULTRASOUND | EPIQ CVX 2D ULTRASOUND | PHILIPS HEALTHCARE | 2022-06-15 | 1 | TRUE | PHILIPS HEALTHCARE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | DIAGNOSTIC ULTRASOUND | HM70 EVO ULTRASOUND | SAMSUNG | 2022-06-24 | 1 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD |  | DIAGNOSTIC ULTRASOUND | CX50 POC ULTRASOUND | PHILIPS HEALTHCARE | 2022-06-24 | 1 | FALSE
EKHUFT - MEDICAL DEVICE | CHARING SURGERY |  | DIAGNOSTIC ULTRASOUND | RS80A ULTRASOUND | SAMSUNG | 2022-07-11 | 1 | TRUE | MIS HEALTHCARE
INTEGRATED CARE SCHEME | WHITSTABLE MEDICAL PRACTICE - ICS |  | DIAGNOSTIC ULTRASOUND | RS80A ULTRASOUND | SAMSUNG | 2022-07-11 | 1 | TRUE | MIS HEALTHCARE
INTEGRATED CARE SCHEME | WHITSTABLE MEDICAL PRACTICE - ICS |  | DIAGNOSTIC ULTRASOUND | RS80A ULTRASOUND | SAMSUNG | 2022-07-11 | 1 | TRUE | MIS HEALTHCARE
EKHUFT - MEDICAL DEVICE | KINGSNORTH MEDICAL PRACTICE, ASHFORD |  | DIAGNOSTIC ULTRASOUND | RS80A ULTRASOUND | SAMSUNG | 2022-07-11 | 1 | TRUE | MIS HEALTHCARE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD |  | DIAGNOSTIC ULTRASOUND | SONOSITE PX ULTRASOUND SYSTEM | FUJIFILM UK | 2022-10-27 | 1 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | DIAGNOSTIC ULTRASOUND | SONOSITE PX ULTRASOUND SYSTEM | FUJIFILM UK | 2022-11-18 | 1 | FALSE
EKHUFT - MEDICAL DEVICE | BHD - DOVER (Inc ICS) |  | DIAGNOSTIC ULTRASOUND | EPIQ CVX 2D ULTRASOUND | PHILIPS HEALTHCARE | 2022-12-22 | 1 | TRUE | PHILIPS HEALTHCARE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD |  | DIAGNOSTIC ULTRASOUND | EPIQ CVX 2D ULTRASOUND | PHILIPS HEALTHCARE | 2022-12-22 | 1 | TRUE | PHILIPS HEALTHCARE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | POINT OF CARE DIAGNOSTIC ULTRASOUND | ACCUTOME 4SIGHT B-SCAN PROBE | KEELER GB LTD | 2023-01-05 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | OPTHALMIC DIAGNOSTIC ULTRASOUND | POINT OF CARE DIAGNOSTIC ULTRASOUND | ACCUTOME 4SIGHT | KEELER GB LTD | 2023-01-05 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | X-RAY ROOM | ARTIS Q CEILING | SIEMENS HEALTHINEERS | 2023-01-05 | 0 | TRUE | SIEMENS HEALTHCARE DIAGNOSTICS LTD
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD |  | POINT OF CARE DIAGNOSTIC ULTRASOUND | ACCUTOME 4SIGHT B-SCAN PROBE | KEELER GB LTD | 2023-01-05 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | OPTHALMIC DIAGNOSTIC ULTRASOUND | POINT OF CARE DIAGNOSTIC ULTRASOUND | ACCUTOME 4SIGHT | KEELER GB LTD | 2023-01-05 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY | OPTHALMIC DIAGNOSTIC ULTRASOUND | POINT OF CARE DIAGNOSTIC ULTRASOUND | ACCUTOME A-SCAN PLUS CONNECT | KEELER GB LTD | 2023-01-05 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD | OPTHALMIC DIAGNOSTIC ULTRASOUND | POINT OF CARE DIAGNOSTIC ULTRASOUND | ACCUTOME A-SCAN PLUS CONNECT | KEELER GB LTD | 2023-01-05 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE |  | POINT OF CARE DIAGNOSTIC ULTRASOUND | EDGE 2 - DIAGNOSTIC ULTRASOUND SONOSITE | SONOSITE LTD | 2023-02-10 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | DIAGNOSTIC ULTRASOUND | SONOSITE PX ULTRASOUND SYSTEM | FUJIFILM UK | 2023-03-06 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE | Diagnostic Ultrasound | DIAGNOSTIC ULTRASOUND | VOLUSON P8 | GE HEALTHCARE | 2023-03-08 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD |  | DIAGNOSTIC ULTRASOUND | HERA W10 V1.0 | SAMSUNG | 2023-05-10 | 0 | TRUE | NHS SUPPLY CHAIN
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE |  | DIAGNOSTIC ULTRASOUND | HERA W10 V1.0 | SAMSUNG | 2023-06-06 | 0 | TRUE | NHS SUPPLY CHAIN
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE |  | DIAGNOSTIC ULTRASOUND | HERA W10 V1.0 | SAMSUNG | 2023-06-06 | 0 | TRUE | NHS SUPPLY CHAIN
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | TISSUE SAMPLE X-RAY CABINET | TRIDENT HD - FAXITRON | HOLOGIC LTD | 2023-07-03 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | POINT OF CARE DIAGNOSTIC ULTRASOUND | SONOSITE SII - DIAGNOSTIC ULTRASOUND | SONOSITE LTD | 2023-07-13 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | DIAGNOSTIC ULTRASOUND | MYLABX90 | ESAOTE | 2023-08-04 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2023-08-15 | 0 | FALSE
2GETHER SUPPORT SOLUTIONS | WHH - ASHFORD |  | DIAGNOSTIC ULTRASOUND | RS85 - ULTRASOUND | SAMSUNG | 2023-08-15 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | KCH - CANTERBURY |  | DIAGNOSTIC ULTRASOUND | SONOSITE PX ULTRASOUND SYSTEM | FUJIFILM UK | 2023-08-25 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE |  | POINT OF CARE DIAGNOSTIC ULTRASOUND | X-PORTE | SONOSITE LTD | 2023-10-12 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD |  | DIAGNOSTIC ULTRASOUND | LX - ULTRASOUND SYSTEM | FUJIFILM UK | 2023-11-07 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | QEQMH - MARGATE |  | TISSUE SAMPLE X-RAY CABINET | TRIDENT HD - FAXITRON | HOLOGIC LTD | 2023-12-01 | 0 | FALSE
EKHUFT - MEDICAL DEVICE | WHH - ASHFORD |  | TISSUE SAMPLE X-RAY CABINET | TRIDENT HD - FAXITRON | HOLOGIC LTD | 2023-12-14 | 0 | FALSE